## Slide 1: FZU Computing Center
Jiří Chudoba
VS - Meeting with users, 5.12.2024

## Slide 2: Welcome
Notes: https://indico.fzu.cz/event/266/

## Slide 3: Usage in 2024 (Tier-2 part)

## Slide 4: Number of slots evolution – last 3 years

## Slide 5: Changes in 2024
12/2023
  3 luna servers (luna2023, luna106-108)
  5 new disks (5x22 TB) to nfs17
2/2024
  WLCG DC24
3/2024
  dpmpool20 update (10 TB disks – 12 TB disks)
4/2024
  ds26-ds33 disks high temperature
6/2024
  migration of computing servers to Alma Linux 9
  new racks configuration
  update of electricity distribution
  2x100 Gbps LHCONE link
  100 Gbps PASNET link
7/2024
  200 Gbps network tests
8/2024
  LUMI successful usage
10/2024
  3 new disk servers nfs26-28 available
  NFS data migration finished
  new ui2 and ui3 (each: 2x32 cores, 768 GB RAM)
11/2024
  magma cluster installed
12/2024
  new stable HTCondor version 24.0.2

## Slide 6: Computing servers - Golias

## Slide 7: Network 2023
Excellent external connection thanks to CESNET
Notes: different switch vendors, long delays for CISCO switches delivery

## Slide 8: WLCG DC24
90 days before and during DC24, bin – 1 h
peaks at 3 Tb/s

## Slide 9: DC24
CZ
(in 4.5 days)
in: 2,5 PB
out: 2,1 PB

## Slide 10: Network since 06.2024
Notes: different switch vendors, long delays for CISCO switches delivery

## Slide 11: Tests - July 2024
WLCG (CERN) monitoring, 1 min avg

## Slide 12: Statistics 2024 (Jan – Sep)

## Slide 13: Statistics 2024 (Jan – Sep)

## Slide 14: Statistics 2024 (Jan – Sep)

## Slide 15: Statistics 2024 (Jan – Sep)
Notes: (RemoteWallClockTime * RequestCpus * ScalingFactorMachine / ScalingFZUAplex)

## Slide 16: Statistics 2024 (Jan – Sep)

## Slide 17: Statistics 2024 (Jan – Sep)
To be corrected!

## Slide 18: Operations – external resources (ATLAS)
2024
1.6 Tri
40 %
total: 4 Tri
(Jan – Nov)
Notes: graphs – 2024 until Nov 25th, ATLAS grafana

## Slide 19: Statistics 2024 (Jan – Sep)
Walltime | Number of jobs
0 – 5 m | 3 069 571
5 – 10 m | 619 695
10 – 15 m | 575 835
15 – 20 m | 450 982
20 – 25 m | 507 324
25 – 30 m | 323 603
30 – 35 m | 229 279
35 – 40 m | 197 053
40 – 45 m | 176 530
45 – 50 m | 193 403
50 – 55 m | 231 741
55 – 60 m | 218 301
1 – 2 h | 1 322 477
2 – 3 h | 541 423
3 – 4 h | 308 199
1 – 2 d | 280 295
2 – 3 d | 215 302

## Slide 20: Statistics 2024 (Jan – Sep)

## Slide 21: Statistics 2024 (Jan – Sep)

## Slide 22: Statistics 2024 (Jan – Sep)

## Slide 23: Grafana plots
Notes: last 30 days

## Slide 24: Electricity consumption
2023:
4.30 CZK/kWh (plus 40 %)
1536 MWh total (- 12 %)
avg: 178 kW (-32 %)
total: 6.6 MCZK
2024 (prelim):
5.53 CZK/kWh (plus 29 %)
1533 MWh total
avg: 177 kW
total: 8.5 MCZK
    (without magma cluster)
Notes: mean in 2023: 124 kW

## Slide 25: gpu01

## Slide 26: Manpower
    lack of manpower
      Lukáš Míča and Filip Neubauer left

## Slide 27: Discussion
    new cluster in 2025 - how much memory per core?
    storage for local users: NFS vs ceph vs dcache

## Slide 28: Thank you for your attention